## Slide 1: Quantum Metrological Theoretical Toolbox all you need to know to find the optimal protocols!
Rafal Demkowicz-Dobrzański
Faculty of Physics, University of Warsaw, Poland

## Slide 2: Interferometry at its limits
LIGO - gravitational wave detector
Michelson interferometer
How fundamental are these limits?

## Slide 3: Interferometry at its limits
LIGO - gravitational wave detector
Michelson interferometer
How fundamental are these limits?

## Slide 4: ,,Classical’’ interferometry
reasonable estimator

## Slide 5
Poissonian statistics
„Classical” interferometry
Standard limit (Shot noise)
reasonable estimator

## Slide 6: N independent photons
optimal estimator:
Again shot noise limited

## Slide 7
Entanglement enhanced precision
Hong-Ou-Mandel interference
&

## Slide 8
NOON states
Measuremnt
State
preparation
Heisenberg limit
Standard Quantum Limit
Estimator
Entanglement enhanced precision

## Slide 9: Is quantum enhancement achievable in practice?
loss of a single photon
loss of photons
Can we observe quantum advantage in presence of decoherence?
no phase information!
decoherence!

## Slide 10: Squeezed states interferometry
coherent state
Better sensitivity thanks to sub-Poissonian fluctuations of n1- n2!
squeezed vacuum
vacuum
- effective transmission
Shot noise
C. Caves, Phys. Rev D 23, 1693 (1981)

## Slide 11: What are the fundamental limits for optical interferometry in presence of loss? (or any quantum metrological protocol in presence of decoherence)
N photon state
Measurement
Can we do better?
Take a Quantum Information perspective!

## Slide 12: Singe photon = a qubit
Evolution of each photon through an interferometer
=
Unitary rotation of a qubit (spin 1/2)
=
Superposition of a photon travelling in upper and lower arms

## Slide 13
N photon interferometry -> N qubit phase estimation
N photon state
Measurement
Measurement
N qubit state*
*we formally treat photons as distinguishable (may only improve estimation!)
Optical interferometry as a quantum channel estimation problem!

## Slide 14: Unitary channel estimation problem

## Slide 15: Unitary channel estimation problem
Quantum Cramer-Rao inequality
Quantum Fisher information (QFI)

## Slide 16: Unitary channel estimation problem
Time-Energy uncertainty relation
Quantum Fisher information (QFI)
Quantum Cramer-Rao inequality

## Slide 17: Unitary channel estimation problem
Quantum Channel Cramer-Rao inequality
Channel Quantum Fisher Information

## Slide 18: Estimation using N channels
each atom/photon interfers with itself
(shot noise scheme)
(i)
entanglement-enhanced scheme
(ii)
The most general adaptive scheme
(iii)

## Slide 19: Maximal Quantum Fisher Information for noiseless models
V. Giovannetti, S. Lloyd, and L. Maccone, Phys. Rev. Lett. 96, 010401 (2006).
Heisenberg limit

## Slide 20: Take into account decoherence
Let things decohere!
to model loss – we use three dimensional output space
photon survives
lost in mode a
lost in mode b

## Slide 21
N photon interferometry ->
N qubit phase estimation
What is the ultimate estimation precision we can achieve in presence of losses?
N photon state
Measurement
Measurement
N qubit state*

## Slide 22: Allow for adaptive schemes as well!

## Slide 23
QFI for noisy channels
difficult to compute for noisy channels!
Channel QFI:

## Slide 24: Idea of minimization over purifications (MOP)
S
E
S
A. Fujiwara, H. Imai, J. Phys. A 41, 255304 (2008)

## Slide 25: Channel QFI via MOP
S
E
S
computing the channel QFI:
A. Fujiwara, H. Imai, J. Phys. A 41, 255304 (2008)

## Slide 26: Channel QFI via MOP
S
E
S
computing the channel QFI:
A. Fujiwara, H. Imai, J. Phys. A 41, 255304 (2008)

## Slide 27: Channel QFI via MOP
S
E
S
computing the channel QFI:
A. Fujiwara, H. Imai, J. Phys. A 41, 255304 (2008)
equivalent Kraus representations
K x K Hermitian matrix

## Slide 28: Channel QFI via MOP
S
E
S
A simple SDP programme!
RDD, J. Kolodynski, M. Guta, Nat. Commun. 3, 1063 (2012)
K x K Hermitian matrix
computing the channel QFI:

## Slide 29: More channels! What are advantages of different levels of quantumness?
entanglement (passive way)
(E)
entanglement + adaptiveness (active quantum feedback)
(AD)
+ sequentiality
coherence
(C)

## Slide 30: Optimal entanglement based strategies (E)
Minimization over purifications (MOP)
Iterative See-Saw (ISS)
Works if N is small enough… (for qubit channels N ≤ 5)

## Slide 31: What to do for many channel protocols N>1
Parallel protocols
Adaptive protocols
Optimization over quantum combs
Straightforward generalization

## Slide 32: What to do for many channel protocols N>1
Straightforward generalization
Parallel protocols
Adaptive protocols
Optimization over quantum combs
Generalization of MOP method to combs -> SDP program
Altherr, Y. Yang, Phys. Rev. Lett 127, 060501 (2021)
Q. Liu, Z. Hu, H. Yuan, Y. Yang, Phys. Rev. Lett. 130, 070803 (2023)
Applicabiilty resticted to small N !

## Slide 33: What to do when N is very large?
no-go way
constructive way
Use MOP idea to derive bounds
Apply iterative see-saw (ISS) optimization and tensor network methods to find optimal protocols withing some restricted class
Ideally!
S.Kurdzialek, P. Dulian, J. Majsak, S. Chakrabotry, RDD, New J. Phys. 27 013019 (2025)
Q. Liu, Y. Yang, Quantum 8, 1571 (2024)
See poster by Staszek Kurdziałek

## Slide 34: Precision bounds via minimization over equivalent Kraus representations
single channel optimization! (SDP)
A. Fujiwara, H. Imai, J. Phys. A 41, 255304 (2008)
B. M. Escher, et al. Nature Phys. 7, 406–411 (2011)
RDD, J. Kolodynski, M. Guta, Nat. Commun. 3, 1063 (2012)
RDD, L. Maccone, Phys. Rev. Lett. 113, 250801 (2014)
RDD, J. Czajkowski, P. Sekatski, Phys. Rev. X 7, 041009 (2017)
S. Zhou et al., Nat. Commun. 9, 78 (2018)
S. Zhou, L. Jiang, PRX Quantum 2, 010343 (2021) S. Kurdzialek, W. Gorecki, F. Albarelli, RDD, PRL 131, 090801 (2023)

## Slide 35: Precision bounds via minimization over equivalent Kraus representations
single channel optimization! (SDP)
true for generic noisy channels
Heisenberg scaling is asymptotically lost!

## Slide 36: Fundamental bound for lossy interferometry
N photon state
Measurement
Valid also for adaptive protocols. Quantum Error Correction will not help!

## Slide 37
Good News: Saturating the fundamental bounds is simple!
Weak squezing + simple measurement + simple estimator = optimal strategy!
fundamental bound
for lossy interferometer
Simple estimator based on n1- n2 measurement
C. Caves, Phys. Rev D 23, 1693 (1981)
For strong beams:
Analogous behaviour in Ramsey interferometry – spin squeezed states saturate asymptotically the fundamental bound
S. Huelga et al. Phys.Rev.Lett. 79, 3865 (1997) D. Ulam-Orgikh , M. Kitagawa Phys. Rev. A 64 052106 (2001)
B. M. Escher, R. L. de Matos Filho, L. Davidovich Nature Phys. 7, 406–411 (2011)

## Slide 38: Squeezed states in gravitational wave detectors
Phys. Rev. Lett. 123, 231107 (2019)
VIRGO
LIGO
Phys. Rev. Lett. 123, 231108 (2019)
35% reduction in noise thanks to squeezing
~100 `quantum’ photons provides the same imprivement as 1020 `classical’ photons
equivalent to an increase of laser power by 85%!

## Slide 39: When Heisenberg scaling is possible….
W. Dür, M. Skotiniotis, F. Fröwis, and B. Kraus Phys. Rev. Lett. 112, 080801 (2014)
G.Arrad Y. Vinkler, D. Aharonov, and A. Retzker Phys. Rev. Lett. 112, 150801 (2014)
E. Kessler et al. Phys. Rev. Lett. 112, 150802 (2014)
P. Sekatski, M. Skotiniotis, J. Kolodynski, W. Dur, Quantum 1, 27 (2017)
RDD, J. Czajkowski, P. Sekatski,, Phys. Rev. X 7, 041009 (2017)
S. Zhou, M. Zhang, J. Preskill, and L. Jiang, Nat. Commun. 9, 78 (2018)
S. Zhou, L. Jiang, PRX Quantum 2, 010343 (2021)
Idea: we can correct all the noise while still some part of the unitary parameter encoding remains intact – Quantum Error Correction inspired protocols!

## Slide 40: Fundamental bounds latest developments
The best way to bound the increase of QFI when one channel is added
Efficient SDP
S. Kurdzialek, W. Gorecki, F. Albarelli, RDD, PRL 131, 090801 (2023)
No asymptotic gain thanks to adaptiveness for all models with uncorrelated noise!

## Slide 41: Fundamental bounds very latest developments, correlated noise models
How to derive a computable asymptotic bound that takes into account correlations?
S. Kurdzialek, F. Albarelli, RDD, arxiv:2410.01881 (2024)

## Slide 42: Fundamental bounds very latest developments, correlated noise models
S. Kurdzialek, F. Albarelli, RDD, arxiv:2410.01881 (2024)
Bound the increase of QFI when a general Quantum Comb acts on m added (correlated!) channels
Bound the increase of QFI when a general Quantum Comb acts on m added (correlated!) channels

## Slide 43
Which methods we can use when we go multiparameter?

## Slide 44: Multiparameter issues!
Input probe incompatibility
Measurement incompatibility
Correlated estimators
S. Ragy, M, Jarzyna, RDD, Phys. Rev. A 94, 052108 (2016)
?

## Slide 45: Multiparameter issues!
Input probe incompatibility may affect scaling of precision with the numer of parameters involved!
Measurement incompatibility asymptotically at most twice overhead in resources for noisy models
Correlated estimators problem removed if proper parametrization chosen
S. Ragy, M, Jarzyna, RDD, Phys. Rev. A 94, 052108 (2016)
?

## Slide 46: Heisenberg limit in multi-parameter noisy metrology?
Multiparameter quadratic cost:
Can we have the Heisenberg scaling with N uses of the channel ?
W. Gorecki, S. Zhou, L. Jiang, RDD, Quantum 4, 288 (2020)
Kraus span:
„Hamiltonian” of p parameter
are linearly independent
Heisenberg scaling is possible if and only if
estimators covariance matrix

## Slide 47: Relaxing the tightness of the bounds…
Multiparameter quadratic cost:
By analyzing the (weighted) trace of QFI we can still get insight into probe incompatibility issue (i)
We choose a parametrization where C = diag(c1, …, cp)

## Slide 48: Optimizing the trace of the matrix (MOP)
QFI matrix for a mixed state is again the minimum over its purifications! (in the sense of matrix ordering)
And this implies the same equality for the trace
The formula for trace of the channel QFI matrix:
F. Albarelli, R. Demkowicz-Dobrzanski, PRX 12, 011039 (2022)
Sum under the operator norm! We get insight into probe incompatibility!

## Slide 49: Multi-parameter bounds via MOP
Bound on the increase of trace of QFI matrix after a single step
If for all parameters we can have hi such that
Allows to study asymptotic effects of probe incompatibility in presence of noise
F. Albarelli, R. Demkowicz-Dobrzanski, PRX 12, 011039 (2022)+ unpublished

## Slide 50
yes
Heisenberg scaling not possible.
Heisenberg scaling possible
Summary
no
Minimization over purifications (MOP)
can be used to derive bounds for large N
Iterative See-Saw (ISS)
can be combined with tensor-network approach
to optimize QFI for large N
Qualitative conditions for Heisenberg scaling
Quantitative optimization methods for the QFI (or trace of the QFI matrix)
W. Gorecki, S. Zhou, L. Jiang, RDD, Quantum 4, 288 (2020)
F. Albarelli, RDD, PRX 12, 011039 (2022)
S. Kurdzialek, W. Gorecki, F. Albarelli, RDD, PRL 131, 090801 (2023)
S. Kurdzialek, F. Albarelli, RDD, arxiv:2410.01881 (2024)
K.Chabuda, J. Dziarmaga, T. Osborne, RDD, Nat. Commun 11, 250 (2020)
S.Kurdzialek, P. Dulian, J. Majsak, S. Chakrabotry, RDD, New J. Phys. 27 013019 (2025)